## Slide 1
Removing Noise and Artifacts
from ECG Signals
Presented By:
Rakibul Islam
1602146
Department of ECE

## Slide 2
What is ECG?
ECG stands for electrocardiogram
Used to capture & monitor heart signal
There are 3 different ways an ECG may be done:
      While resting
      Over a period of time, while wearing a portable ECG
      While doing exercise.

## Slide 3
Noise and Artifacts
Powerline interference
Muscle artifacts
Electrode motion artifacts
Baseline wander
Patient’s movement
Interference from outside sources

## Slide 4
Pre-processing Techniques
Baseline wander removal
Powerline interference removal
Wavelet transform
Adaptive filtering

## Slide 5
Wavelet Transform
The wavelet transform is a convolution of the wavelet function
ψ(t) with the signal x(t). The discrete wavelet transform (DWT)
can be written as

## Slide 6
Wavelet Transform
Adaptive filter essentially minimizes the mean-squared error
between a primary input, which is the noisy ECG, and a reference
input, which is either noise that is correlated in some way with
the noise in the primary input or a signal that is correlated only
with ECG in the primary input
A filter with a primary input that is an ECG signal s1 with additive noise n1, while
the reference input is noise n2, possibly recorded from another generator of
noise n2 that is correlated in some way with n1